Materials

- EZ-Link Sulfo-NHS-Biotin (Thermo PIA39256)

- DMSO (Sigma-Aldrich D2650-5X5mL)

- Dynabeads Protein G (Life Technologies 10009D) – 2.7*10^6 beads/uL

- Streptavidin (BioLegend 280302)

- Biotinylated and barcoded oligo of bead barcoding

  - Sequence structure

    - /5phos/TGACTTGNNNNNNNNTATTATGGTAGATCGGAAGAGCGTCGTGTACACAGAGTC/3Bio/

      - Sticky end that ligates Odd barcodes

      - UMI

      - Oligo barcode

      - Illumina primer binding site (i5 primer binding site)

Biotinylate Protein G beads

- Reconstitute NHS-biotin

  - Allow 1mg tube of sulfo NHS-biotin to equaliberate to RT (10-30 min)

  - Add 448µL of DMSO to the 1mg vial for a 5mM solution of NHS-biotin

  - Vortex for 10 seconds

- Conjugate NHS-biotin to Protein G beads

  - Put 5mL of beads on magenetic rack

  - Remove storage buffer and put in a separate tube

  - Wash beads with 1mL PBSt

  - Resuspend beads in 1mL PBSt

  - Add 20uL of freshly reconstituted 5mM Sulfo-NHS-Biotin

  - Vortex 10 seconds immediately

  - Rotate on hula mixer for 30 minutes

  - Put on magnetic rack, remove 500uL and add 500uL 1M Tris pH 7.4

  - Vortex 5 seconds and rotate on hula mixer for 30 minutes

  - Wash beads 2x with 1mL PBSt

  - resuspend beads in original buffer for storage

    - This is to keep the antibody capacity per uL of beads consistent

Generate SA-oligo complex and optimize bead labeling

- Couple biotinylated barcoded oligo to Streptavidin at a 2:1 ratio (oligo:Streptavidin)

  - Prepare the following reaction for each barcoded oligo

| Reagent | molarity (uM) | 1x | final concentration of SA (nM) |  |
| --- | --- | --- | --- | --- |
| Barcoded oligo | 10 | 40 |  |  |
| Streptavidin (1mg/mL) | 18.1818 | 10 | 909 | 5.474×10^11 molecules/uL |
| PBS |  | 150 |  |  |
|  | total | 200 |  |  |

  - Shake 30 minutes at RT at 1200 RPM

  - Store overnight at 4C to allow SA-oligo coupling to fully saturate

  - Make a 1:4 dilution (227nM final)

    - store 227nM stock at 4C. Good for a year (and counting!)

    - store 909nM stock at -80C.

- Titrate amount of SA-oligo to optimize oligo/bead

  - Make a fresh dilution from the 227nM to make a working stock at a final concentration of 5.67nM (2:80 dilution)

  - Wash 10uL of biotinylated Protein G beads per condition 2x with 1mL PBSt

    - Eg. 5 conditions would be 50uL of protein G beads

  - Resuspend beads in 100uL PBSt per 10uL of beads

  - Add 100uL 2x SA binding buffer per 10uL of beads

  - Split into 200uL aliquots (10uL worth of beads) in X wells of a deep well plate

  - Add varying amounts of 5.67nM SA-oligo to each well

    - For example: 0uL, 5uL 10uL, 15uL and 20uL of 5.67nM SA-oligo

  - Shake at 1100 RPM at RT for 30 minutes

  - Wash each well 2x with 200uL M2 buffer

  - Resuspend in 200uL Dilute M2 (50:50 of M2:H2O)

- Quantify oligos/bead

  - Take 2uL worth of beads (40uL of 200uL) last well is each row for representative assessment of coupling for that row

  - Resuspend beads in 40uL of dilute M2. (Dilute M2 is 50% M2 and 50% water)

  - Prepare the following reaction for each condition

| Reagent | 1x (uL) |
| --- | --- |
| Beads in Dilute M2 | 40 |
| Term Ligates Even | 12 |
| Instant Sticky MM | 32 |
| total | 84 |

  - Shake at 25C for 15 minutes, 1200RPM

  - Wash 3x with 200uL M2

  - Resuspend in 42uL water

  - Take 1/2 of sample (21uL, 1uL of beads) and PCR amplify 10 cycles

| Reagent | 1x (uL) | 10x |
| --- | --- | --- |
| Beads in water | 21 |  |
| 2pbc (25uM) | 2 |  |
| 2puni (25uM) | 2 |  |
| 2x Q5 MM | 25 |  |

    - 2uL 2pbc (25uM), 2uL 2puni (25uM), 21uL beads in water, 25uL of 2x Q5 MM

| Temp (C) | Time (s) | Cycles |
| --- | --- | --- |
| 98 | 60 | 1 cycle |
| 98 | 15 | 4 cycles |
| 69 | 15 |  |
| 72 | 90 |  |
| 98 | 15 | 6 cycles |
| 72 | 90 |  |
| 72 | 2min |  |

  - 1.2x SPRI

    - Elute in 20uL

  - Run each sample on tapestation to quantify molarity

  - Use unique molecule calculator to back calculate number of oligos/bead

    - Aim for condition that gives 70-100 oligos/bead